{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":37,"n_cols":7,"rows_kept":37,"merged":[[0,0,0,6],[24,3,24,4],[25,1,25,6],[26,1,26,2],[26,3,26,4],[27,1,27,2],[27,3,27,4],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[34,3,34,4],[35,1,35,2],[35,3,35,4],[36,1,36,2],[36,3,36,4]]}
["2022年坪山新区深圳创业创新学院结构设计与原型实验室造价清单"]
["序号","分项名称","单位","数量","综合单价","总价","规格及要求"]
[1,"拆柜子","项",{"v":1,"d":"1.00"},null,null,"1.拆除\n2.基层门套处理\n"]
[2,"拆除原有隔墙","㎡",{"v":94,"d":"94.00"},null,null,"1.拆除\n2.基层处理及墙边修补\n"]
[3,"入口拆除地胶","㎡",{"v":88,"d":"88.00"},null,null,"拆除地胶"]
[4,"新建石膏板隔墙","㎡",114,null,null,"1、双面9厘木板基层加9厘石膏板面层\n2、轻钢龙骨骨架加石膏板面层"]
[5,"门洞木基层制作","套",6,null,null,"1、9厘阻燃板基层\n2、轻钢龙骨骨架"]
[6,"门洞不锈钢制作","m",35,null,null,"定制金属不锈钢门套"]
[7,"新建玻璃隔墙","㎡",50,null,null,"成品定制玻璃，含人工及安装"]
[8,"玻璃隔断上方假梁","㎡",37,null,null,"1、双面9厘木板基层加9厘石膏板面层\n2、轻钢龙骨骨架加石膏板面层"]
[9,"隔墙油漆工程","㎡",320,null,null,"1、刷乳胶漆一道\n2、刷抗碱底漆一道\n3、刮白胶腻子找平二遍"]
[10,"新建玻璃双开门","套",1,null,null,"定制双开玻璃门，含拉手，皇冠地弹簧，五金件，尺寸：18000*2400"]
[11,"玻璃双开门","套",2,null,null,"定制双开玻璃门，含拉手，皇冠地弹簧，五金件，尺寸：1500*2400"]
[12,"玻璃双开门","套",1,null,null,"定制双开玻璃门，含拉手，皇冠地弹簧，五金件，尺寸：2400*2400"]
[13,"工具架 洞洞板+柜","m",7.6,null,null,"工具金属展架+柜子"]
[14,"地面修复","㎡",560,null,null,"地面打磨、固化剂、修复"]
[15,"成品玻璃推拉门","㎡",{"$f":"2.4*2.4","v":5.76},null,null,"定制电工玻璃门，含电机，钢结构加固，五金件，尺寸：2400*2400"]
[16,"新建铁丝网隔断","㎡",40,null,null,"成品定制"]
[17,"双开玻璃门","套",1,null,null,"定制双开玻璃门，含拉手，皇冠地弹簧，五金件，尺寸：2000*2400"]
[18,"地面自流平","㎡",{"v":88,"d":"88.00"},null,null,"入口区域地面自流平"]
[19,"水吧台","套",{"v":1,"d":"1.00"},null,null,"水吧台"]
[20,"电路改造","㎡",{"v":560,"d":"560.00"},null,null,"电路改造，增加开关插座线路"]
[21,"门禁系统","项",2,null,null,"门禁"]
[]
[{"$nulls":3},"小      计"]
[]
["A","工程直接造价",null,"合    计"]
["B","措施费",null,"合    计"]
["B.1","安全文明施工费",null,{"v":1,"d":"1.0"}]
["B.2","高空作业费（脚手架）",null,{"v":1,"d":"1.0"}]
["B.3","图纸设计费",null,{"v":1,"d":"1.0"}]
[null,"材料搬运费",null,{"v":1,"d":"1.0"}]
["B.4","垃圾外运",null,{"v":1,"d":"1.0"}]
["B.5","整体完成卫生精清",null,{"v":1,"d":"1.0"}]
[null,"公司管理费:",null,"小    计"]
[null,"含税(普通税票3%)"]
[null,"工程总造价",null,"总    计"]